# Ideas

similar to TNG tricorder (updated)

## Components

### Sensor Element (handheld, small, just the sensor)

battery

charging when clicked into the tricorder

Button to activate scan?

infrared optical sensor

direct data stream to tricorder

locating function

### Tricorder (handheld, larger device)

Battery

can flip open

holds screen (touch screen?)

has buttons

has a click in port for handheld

holds charger for sensor element

runs the AI

presents image and inference on screen

has a charging cradle itself

locating function for sensor

## Non Functional Requirements

### Sensor

runtime between full charge and empty of at least 1 hour

full charge in 10 minutes?

lightweight (TBD)

shielded from user’s body temperature

must be resistant to professional cleaners and disinfectants

sealed to prevent cleaning fluids or body fluids to enter

must be easy to clean (no complicated nooks and crannies)

must withstand falls from 6 feet onto concrete repeatedly

ergonomic shape

### Tricorder

runtime between full charge and empty of 12 hours

full charge in 1 hour

must be resistant to professional cleaners and disinfectants

sealed to prevent cleaning fluids or body fluids to enter

must be easy to clean (no complicated nooks and crannies)

lightweight (TBD)

must withstand falls from 6 feet onto concrete repeatedly

ergonomic shape